## Sheet1
Headloss Calculations
hf = headloss, psia
f = friction factor
l = length of pipe in feet
D = inside diameter of pipe in feet
Hv = 1.93 x 10^-6 (ya)(v^2/2g)
ya = specific weight of air in pipe, lb/cu ft
v = airflow velocity in pipe ft/min
g = acceleration due to gravity in pipe = 32.2 ft/sec 2
General equation for straight pipe |  |  |  | General equation for bends
hf = f (I/D)(Hv) |  |  |  | hf = Kh Hv
Constants
f |  | 0.025
Diffuser headloss |  | 0 | in H20
Diffuser Submerge. |  | 0 | ft
Airflow per diffuser |  | 0 | cfm
Ambient air temp |  | 0 | deg F |  |  | 0 | 0 | 0 | 0 | 0
Air density |  | 0 | lbs/ft3 |  |  | 0 | 0 | 0 | 0
Note .075 lbs/cu ft is standard air density at sea level/70F
Location | Description |  | Airflow | D | L | W | V | fL/D | Delta P | Delta P
|  |  | scfm | I.D. (in) | (ft.) | (lbs/min) | (ft/sec) |  | (psi) | (in H20)
1 | Description |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | Description |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | Description |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | Description |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | Description |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | PIPING FRICTIONAL PRESSURE DROP |  |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | DIFFUSER HEADLOSS |  |  |  |  | 0.28736 | 8
|  |  |  | STATIC HEAD |  |  |  |  | 0 | 0
|  |  |  | TOTAL SYSTEM LOSS |  |  |  |  | #DIV/0! | #DIV/0!
P1 |  |  | #DIV/0! | PSIA
P2 (P1 - Pressure drop) |  |  | #DIV/0! | PSIA
Pdiff (Patm+Static head) |  |  | #DIV/0!
Airflow is a function of the square root of pressure drop
Variation = SQRT [(P1-Pdiff)/(P2-Pdiff)]
Variation = |  | #DIV/0!
|  |  | % VARIATION = |  | #DIV/0!